## subdivision
Buzzards Bay Project Subdivision worksheet -october 14, 2011 | [5 empty] | report errors to jcosta@buzzardsbay.org
Sources |  |  | Total |  | Pounds/yr | Notes
Subdivision area (land only) | estimated= | 44.1919 | 44 | acres |  | enter actual in column D; C is predicted
Buildable lots, 1 house per lot | 35 | lots
avg lot size | 44000 | sq. ft. |  |  |  | used only for estimated subdivision area
Bedrooms (average number) | 4 | per house
Total Bedrooms | 140
assumed occupancy, planning | 1 | per bedroom |  |  |  | set by policy or regulation, should be higher than actual
assumed occupancy, planning | 3 | per/unit
Wastewater Treatment by Septic? | TRUE | (true or false)
units with conventional systems | 35 | units | 105 | persons | 623.7
units with N removal systems | 0 | units | 0 | persons | 0
Alternative N removal factor | 0.5 | loading factor |  |  |  | use 0.5 for best rated systems
Total onsite wastewater N |  |  |  |  | 623.7
package facility design flow | 15400 | gpd |  |  |  | load based on planning occupancy, not design flow
package facility discharge limit | 5 | ppm nitrogen |  |  |  | annual loading from community facility, load based on planning occupancy
Road Length | 5200 | feet
Paved road width | 20 |  | 2.3875 | acres | 32.1618
driveway area, per lot and total | 2100 | sq. ft. | 1.6873 | acres | 22.7297
sidewalks, per lot and total | 745 | sq. ft. | 0.5986 | acres | 4.0345
roof area, per lot and total | 3300 | sq. ft. | 2.6515 | acres | 17.8709
lawn size, per lot and total | 5000 |  | 4.0174 | acres | 37.8042
other disturbed, per lot and total | 1000 | sq. ft. | 0.80349 | acres | 5.4154
wetlands in subdivision | 0 | acres | 0 |  | 0 | n loading from wetlands is zero (a sink)
unaltered upland on buidable parcels |  |  | 34.2416 | acres | 15.2431 | incl. additional 1000 sq. ft margin of error altered
proposed greenspace not included above |  |  |  | acres | 0
Total Nitrogen Loading |  |  |  |  | 758.9596
net lb/acre |  |  |  |  | 17.2491
Use Upper Watershed Attenuation | TRUE |  | 0.7 | coefficient
Total Nitrogen Loading to Bay |  |  |  |  | 531.2717 | use this value
effective net lb/acre |  |  |  |  | 12.0744 | pounds per acre to receiving waters
Nitrogen Limit Policy or Bylaw | 7.5 | pounds/acre
Subdivision Limit | 330 | pounds |  |  |  | Septic Systems | 623.7 | 82.77%
[6 empty] | Roads | 32.1618 | 4.268%
enter values in yellow shaded boxes | [5 empty] | Other impervious | 44.6351 | 5.923%
[6 empty] | Lawns | 37.8042 | 5.017%
[6 empty] | Undisturbed area | 15.2431 | 2.023%
[6 empty] | Total | 753.5442

## Commercial
Buzzards Bay Project Commercial Developemnet Worksheet DRAFT -10/14/2011 | [5 empty] | report errors to jcosta@buzzardsbay.org
Sources |  |  | Total |  | Pounds/yr | Notes
Parcel area-acres (land only) |  |  | 15 | acres |  | enter actual in column D; C is predicted
wastewater facility design flow | 9500 | gpd
wastewater facility expected flow | 5000 | gpd |  |  |  | load based on expected flow, not design flow
facility discharge limit | 10 | ppm nitrogen |  |  | 152.2441 | annual loading from community facility, load based on planning occupancy
Paved areas, vehicle | 10000 | sq. ft. | 0.22957 | acres | 3.0925
paved areas, sidewalk, nonvehicle | 745 | sq. ft. | 0.017103 | acres | 0.11527
roof area | 8954 | sq. ft. | 0.20556 | acres | 1.3854
lawn area square feet | 35000 | sq. ft. | 0.80349 | acres | 7.5608
other disturbed, mulched etc. | 30000 | sq. ft. | 0.68871 | acres | 4.6418
wetlands | 0.2 | acres | 4.5914e-06 |  | 0 | n loading from wetlands is zero (a sink)
unaltered upland on buidable parcels |  |  | 13.0556 | acres | 5.8119 | incl. additional 1000 sq. ft margin of error altered
Total Nitrogen Loading |  |  |  |  | 174.8517
net lb/acre |  |  |  |  | 11.6568
Use Upper Watershed Attenuation | FALSE |  | 0.7 | coefficient
Total Nitrogen Loading to Bay |  |  |  |  | 174.8517 | use this value
effective net lb/acre |  |  |  |  | 11.6568 | pounds per acre to receiving waters
Nitrogen Limit Policy or Bylaw | 7.5 | pounds/acre
Subdivision Limit | 112.5 | pounds
enter values in yellow shaded boxes
Note on F6: ga/d x 365 d/y x 3.785 l/ga x .000001 g/kg x 2.2 lb/kg

## rates
Loading
| rate (Kg/ha) | lb/acre |  | comments
Cropland | 10.2 | 9.0813
Pasture | 5 | 4.4516
Forest | 0.5 | 0.44516
Wetlands | 0.5 | 0.44516
Golf Course | 10.54 | 9.3841
Spectator Recreation | 5.27 | 4.692
Cranberry Bog (part of #21 | 22.93 | 16.5897
ROADS (Kg/ha) | 15.13 | 13.4707
EMBAYMENT SURF. DEPOSITION | 10.9 | 9.7046
2 uM Background from Precipitation | 0.5 | 0.44516
Other Loading Assumptions:
average upper watershed attenuation factor | 0.5 |  | manually set
average lower watershed attenuation | 0 |  | manually set
average upper watershed transmission | 0.5
average lower watershed transmission | 1
per capita N load | 2.7 |  | kg/person | 2.7 kg default | 5.94 | = lb per capitata
AVG Occupancy: | 2.5 |  | persons/unit | not used
PLan Occupancy: | 4 |  | persons/unit | not used
Fert. Lawn | 10.54 | 9.41 | Corrected; not halved on the assumption that only half of property owners fertilize
roof & sidewalk precip load | 7.57 | 6.7399
drive way and road precip. Load | 15.13 | 13.4708