## Readme
Prepared by Dr. Joe Costa | send comments to: | jcosta@buzzardsbay.org
Last Revision: 11/30/2010
Explanation and information about this table at: |  | http://www.buzzardsbay.org/wareham-river-subwatershed.htm
Data downloaded from: | http://www.epa-echo.gov/cgi-bin/effluents.cgi?permit=MA0101893

## raw
PermitID | DB | Name | Address | City | State | ZIP | Status | Designation | Ownership | PIPE | Desc | PARAMTR | Name | MONLOCN | Name | PERIOD | DATE | DATE2 | C1_VALQ | C1_VALUE | C1_UNIT | C1_LSENSE | C1_LVAL | C1_LUNIT | C1_LTYPE | C1_VLEVEL | C1_VCODE | C1_RNCCODE | C1_RNCRSLVD | C2_VALQ | C2_VALUE |  | C2_UNIT | C2_LSENSE | C2_LVAL | c2VAL2 | C2_LUNIT | C2_LTYPE | C2_VLEVEL | C2_VCODE | C2_RNCCODE | C2_RNCRSLVD | C3_VALQ | C3_VALUE | C3_UNIT | C3_LSENSE | C3_LVAL | C3_LUNIT | C3_LTYPE | C3_VLEVEL | C3_VCODE | C3_RNCCODE | C3_RNCRSLVD | Q1_VALQ | Q1_VALUE | lbs-flow | Q1_UNIT | Q1_LSENSE | Q1_LVAL | limit2 | Q1_LUNIT | Q1_LTYPE | Q1_VLEVEL | Q1_VCODE | Q1_RNCCODE | Q1_RNCRSLVD | Q2_VALQ | Q2_VALUE | vla2 | Q2_UNIT | Q2_LSENSE | Q2_LVAL | Q2_LUNIT | Q2_LTYPE | Q2_VLEVEL | Q2_VCODE | Q2_RNCCODE | Q2_RNCRSLVD | VIOL_LEVEL | VIOL_CODE | RNC_CODE | RNC_RESOLVED
MA0101893 | ICIS-NPDES | WAREHAM W P C F | 6 TONY LANE | WAREHAM | MA | 02571 | Effective | Major | Municipal or water district | 001 |  | 00600 | Nitrogen, total (as N) | 1 | Effluent gross | 1 | 20050731 | 2005-07-31 | [12 empty] | 9.15 | 9.15 | MG/L |  |  |  | MG/L | avg | [16 empty] | 110.6 | 110.6 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20050831 | 2005-08-31 | [12 empty] | 10.76 | 10.76 | MG/L |  |  |  | MG/L | avg | [16 empty] | 130.12 | 130.12 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20050930 | 2005-09-30 | [12 empty] | 8.68 | 8.68 | MG/L |  |  |  | MG/L | avg | [16 empty] | 104.2 | 104.2 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20051031 | 2005-10-31 | [12 empty] | 5.9 | 5.9 | MG/L |  |  |  | MG/L | avg | [16 empty] | 56.3 | 56.3 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20051130 | 2005-11-30 | [12 empty] | 6.64 | 6.64 | MG/L |  |  |  | MG/L | avg | [16 empty] | 61.7 | 61.7 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20051231 | 2005-12-31 | [12 empty] | 6.6 | 6.6 | MG/L |  |  |  | MG/L | avg | [16 empty] | 81.4 | 81.4 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20060131 | 2006-01-31 | [12 empty] | 5.8 | 5.8 | MG/L |  |  |  | MG/L | avg | [16 empty] | 69.6 | 69.6 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20060228 | 2006-02-28 | [12 empty] | 4.84 | 4.84 | MG/L |  |  |  | MG/L | avg | [16 empty] | 56 | 56 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20060331 | 2006-03-31 | [12 empty] | 4.74 | 4.74 | MG/L |  |  |  | MG/L | avg | [16 empty] | 51.6 | 51.6 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20060430 | 2006-04-30 | [12 empty] | 3.7 | 3.7 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 37.3 | 37.3 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20060531 | 2006-05-31 | [12 empty] | 4.1 | 4.1 | MG/L | <= | 4 | 4 | MG/L | avg | effluent | E90 |  | 0 | [12 empty] | 38 | 38 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20060630 | 2006-06-30 | [12 empty] | 3.3 | 3.3 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 36.7 | 36.7 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20060731 | 2006-07-31 | [12 empty] | 3 | 3 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 28 | 28 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20060831 | 2006-08-31 | [12 empty] | 1.6 | 1.6 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 13.1 | 13.1 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20060930 | 2006-09-30 | [12 empty] | 1.3 | 1.3 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 11.5 | 11.5 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20061031 | 2006-10-31 | [12 empty] | 2.2 | 2.2 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 18 | 18 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20061130 | 2006-11-30 | [12 empty] | 6.68 | 6.68 | MG/L |  |  |  | MG/L | avg | [16 empty] | 56.8 | 56.8 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20061231 | 2006-12-31 | [12 empty] | 6.03 | 6.03 | MG/L |  |  |  | MG/L | avg | [16 empty] | 50.2 | 50.2 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20070131 | 2007-01-31 | [12 empty] | 6.3 | 6.3 | MG/L |  |  |  | MG/L | avg | [16 empty] | 52.2 | 52.2 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20070228 | 2007-02-28 | [12 empty] | 6.6 | 6.6 | MG/L |  |  |  | MG/L | avg | [16 empty] | 53.9 | 53.9 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20070331 | 2007-03-31 | [12 empty] | 4.7 | 4.7 | MG/L |  |  |  | MG/L | avg | [16 empty] | 38.8 | 38.8 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20070430 | 2007-04-30 | [12 empty] | 4 | 4 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 33 | 33 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20070531 | 2007-05-31 | [12 empty] | 3.8 | 3.8 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 32 | 32 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20070630 | 2007-06-30 | [12 empty] | 4.2 | 4.2 | MG/L | <= | 4 | 4 | MG/L | avg | effluent | E90 |  | 0 | [12 empty] | 34.5 | 34.5 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20070731 | 2007-07-31 | [12 empty] | 3.07 | 3.07 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 25.1 | 25.1 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20070831 | 2007-08-31 | [12 empty] | 3.36 | 3.36 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 27.5 | 27.5 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20070930 | 2007-09-30 | [12 empty] | 2.7 | 2.7 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 22.1 | 22.1 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20071031 | 2007-10-31 | [12 empty] | 2.12 | 2.12 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 17.29 | 17.29 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20071130 | 2007-11-30 | [12 empty] | 8.1 | 8.1 | MG/L |  |  |  | MG/L | avg | [16 empty] | 65.1 | 65.1 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20071231 | 2007-12-31 | [12 empty] | 7.03 | 7.03 | MG/L |  |  |  | MG/L | avg | [16 empty] | 56.2 | 56.2 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20080131 | 2008-01-31 | [12 empty] | 7.38 | 7.38 | MG/L |  |  |  | MG/L | avg | [16 empty] | 58.5 | 58.5 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20080229 | 2008-02-29 | [12 empty] | 7 | 7 | MG/L |  |  |  | MG/L | avg | [16 empty] | 54.9 | 54.9 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20080331 | 2008-03-31 | [12 empty] | 5.1 | 5.1 | MG/L |  |  |  | MG/L | avg | [16 empty] | 40.1 | 40.1 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20080430 | 2008-04-30 | [12 empty] | 2 | 2 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 23.3 | 23.3 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg | RNC | D90 | N | 1
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20080531 | 2008-05-31 | [12 empty] | 3 | 3 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 31.9 | 31.9 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20080630 | 2008-06-30 | [12 empty] | 3 | 3 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 26.9 | 26.9 | LBS/DAY | <= | 51 | 51 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20080731 | 2008-07-31 | [12 empty] | 3 | 3 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 30.1 | 30.1 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20080831 | 2008-08-31 | [12 empty] | 1 | 1 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 10.5 | 10.5 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20080930 | 2008-09-30 | [12 empty] | 1.5 | 1.5 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 11.7 | 11.7 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20081031 | 2008-10-31 | [12 empty] | 1.6 | 1.6 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 12.1 | 12.1 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20081130 | 2008-11-30 | [12 empty] | 6.5 | 6.5 | MG/L |  |  |  | MG/L | avg | [16 empty] | 51.5 | 51.5 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20081231 | 2008-12-31 | [12 empty] | 8.38 | 8.38 | MG/L |  |  |  | MG/L | avg | [16 empty] | 67.7 | 67.7 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20090131 | 2009-01-31 | [12 empty] | 9.8 | 9.8 | MG/L |  |  |  | MG/L | avg | [16 empty] | 80.5 | 80.5 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20090228 | 2009-02-28 | [12 empty] | 12.9 | 12.9 | MG/L |  |  |  | MG/L | avg | [16 empty] | 105.6 | 105.6 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20090331 | 2009-03-31 | [12 empty] | 11.2 | 11.2 | MG/L |  |  |  | MG/L | avg | [16 empty] | 91.2 | 91.2 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20090430 | 2009-04-30 | [12 empty] | 5.8 | 5.8 | MG/L | <= | 4 | 4 | MG/L | avg | effluent | E90 |  | 0 | [12 empty] | 47.4 | 47.4 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20090531 | 2009-05-31 | [12 empty] | 1.8 | 1.8 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 14.6 | 14.6 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20090630 | 2009-06-30 | [12 empty] | 2.1 | 2.1 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 17.1 | 17.1 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20090731 | 2009-07-31 | [12 empty] | 1.2 | 1.2 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 9.9 | 9.9 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20090831 | 2009-08-31 | [12 empty] | 1.2 | 1.2 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 9.9 | 9.9 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20090930 | 2009-09-30 | [12 empty] | 1.2 | 1.2 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 10.7 | 10.7 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20091031 | 2009-10-31 | [12 empty] | 0.96 | 0.96 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 8.44 | 8.44 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20091130 | 2009-11-30 | [12 empty] | 10.11 | 10.11 | MG/L |  |  |  | MG/L | avg | [16 empty] | 89.51 | 89.51 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20091231 | 2009-12-31 | [12 empty] | 11.92 | 11.92 | MG/L |  |  |  | MG/L | avg | [16 empty] | 106.1 | 106.1 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20100131 | 2010-01-31 | [12 empty] | 10.86 | 10.86 | MG/L |  |  |  | MG/L | avg | [16 empty] | 96.6 | 96.6 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20100228 | 2010-02-28 | [12 empty] | 12.7 | 12.7 | MG/L |  |  |  | MG/L | avg | [16 empty] | 114.1 | 114.1 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20100331 | 2010-03-31 | [12 empty] | 6.1 | 6.1 | MG/L |  |  |  | MG/L | avg | [16 empty] | 56.2 | 56.2 | LBS/DAY |  |  |  | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20100430 | 2010-04-30 | [12 empty] | 3.17 | 3.17 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 29.9 | 29.9 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20100531 | 2010-05-31 | [12 empty] | 2.26 | 2.26 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 21.4 | 21.4 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00600 |  | 1 |  | 1 | 20100630 | 2010-06-30 | [12 empty] | 2.67 | 2.67 | MG/L | <= | 4 | 4 | MG/L | avg | [16 empty] | 25.6 | 25.6 | LBS/DAY | <= | 52 | 52 | LBS/DAY | avg
MA0101893 | [9 empty] | 001 |  | 00610 | Nitrogen, ammonia total (as N) | 1 | Effluent gross | 1 | 20050731 | 2005-07-31 | [12 empty] | 0.758 | 0.758 | MG/L |  |  |  | MG/L | avg | [5 empty] | 2.7 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20050831 | 2005-08-31 | [12 empty] | 0.4 | 0.4 | MG/L |  |  |  | MG/L | avg | [5 empty] | 1.2 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20050930 | 2005-09-30 | [12 empty] | 0.59 | 0.59 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.91 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20051031 | 2005-10-31 | [12 empty] | 0.24 | 0.24 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.34 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20051130 | 2005-11-30 | [12 empty] | 0.19 | 0.19 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.43 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20051231 | 2005-12-31 | [12 empty] | 0.2 | 0.2 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.4 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20060131 | 2006-01-31 | [12 empty] | 0.3 | 0.3 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.5 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20060228 | 2006-02-28 | [12 empty] | 0.12 | 0.12 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.18 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20060331 | 2006-03-31 | [12 empty] | 0.16 | 0.16 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.56 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20060430 | 2006-04-30 | [12 empty] | 0.36 | 0.36 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.54 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20060531 | 2006-05-31 | [12 empty] | 0.2 | 0.2 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.32 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20060630 | 2006-06-30 | [12 empty] | 0.2 | 0.2 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.5 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20060731 | 2006-07-31 | [12 empty] | 0.2 | 0.2 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.6 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20060831 | 2006-08-31 | [12 empty] | 0.2 | 0.2 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.63 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20060930 | 2006-09-30 | [12 empty] | 0.2 | 0.2 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.4 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20061031 | 2006-10-31 | [12 empty] | 0.35 | 0.35 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.78 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20061130 | 2006-11-30 | [12 empty] | 0.23 | 0.23 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.45 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20061231 | 2006-12-31 | [12 empty] | 0.2 | 0.2 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.34 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20070131 | 2007-01-31 | [12 empty] | 0.32 | 0.32 | MG/L |  |  |  | MG/L | avg | [5 empty] | 0.63 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20070228 | 2007-02-28 | [12 empty] | 0.35 | 0.35 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.49 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20070331 | 2007-03-31 | [12 empty] | 0.38 | 0.38 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.52 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20070430 | 2007-04-30 | [12 empty] | 0.32 | 0.32 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 1.4 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20070531 | 2007-05-31 | [12 empty] | 0.27 | 0.27 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.44 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20070630 | 2007-06-30 | [12 empty] | 0.29 | 0.29 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.75 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20070731 | 2007-07-31 | [12 empty] | 0.41 | 0.41 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.97 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20070831 | 2007-08-31 | [12 empty] | 0.29 | 0.29 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.94 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20070930 | 2007-09-30 | [12 empty] | 0.33 | 0.33 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.33 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20071031 | 2007-10-31 | [12 empty] | 0.28 | 0.28 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.48 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20071130 | 2007-11-30 | [12 empty] | 0.17 | 0.17 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.36 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20071231 | 2007-12-31 | [12 empty] | 0.1 | 0.1 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.11 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20080131 | 2008-01-31 | [12 empty] | 0.28 | 0.28 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.83 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20080229 | 2008-02-29 | [12 empty] | 0.14 | 0.14 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.19 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20080331 | 2008-03-31 | [12 empty] | 0.15 | 0.15 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.18 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20080430 | 2008-04-30 | [12 empty] | 0.25 | 0.25 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.49 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20080531 | 2008-05-31 | [12 empty] | 0.21 | 0.21 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.4 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20080630 | 2008-06-30 | [12 empty] | 0.22 | 0.22 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.26 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20080731 | 2008-07-31 | [12 empty] | 0.27 | 0.27 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.42 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20080831 | 2008-08-31 | [12 empty] | 0.25 | 0.25 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.64 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20080930 | 2008-09-30 | [12 empty] | 0.08 | 0.08 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.17 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20081031 | 2008-10-31 | [12 empty] | 0.32 | 0.32 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.54 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20081130 | 2008-11-30 | [12 empty] | 0.36 | 0.36 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.89 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20081231 | 2008-12-31 | [12 empty] | 0.15 | 0.15 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.28 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20090131 | 2009-01-31 | [12 empty] | 0.44 | 0.44 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.76 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20090228 | 2009-02-28 | [12 empty] | 0.52 | 0.52 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 1.4 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20090331 | 2009-03-31 | [12 empty] | 0.27 | 0.27 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.36 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20090430 | 2009-04-30 | [12 empty] | 0.27 | 0.27 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.34 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20090531 | 2009-05-31 | [12 empty] | 0.18 | 0.18 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.34 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20090630 | 2009-06-30 | [12 empty] | 0.17 | 0.17 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.38 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20090731 | 2009-07-31 | [12 empty] | 0.28 | 0.28 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.51 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20090831 | 2009-08-31 | [12 empty] | 0.28 | 0.28 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.42 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20090930 | 2009-09-30 | [12 empty] | 0.35 | 0.35 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.5 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20091031 | 2009-10-31 | [11 empty] | < | 0.2 | 0.2 | MG/L |  |  | #N/A | MG/L | avg |  |  |  |  | < | 0.2 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20091130 | 2009-11-30 | [11 empty] | < | 0.2 | 0.2 | MG/L |  |  | #N/A | MG/L | avg |  |  |  |  | < | 0.2 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20091231 | 2009-12-31 | [11 empty] | < | 0.2 | 0.2 | MG/L |  |  | #N/A | MG/L | avg |  |  |  |  | < | 0.2 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20100131 | 2010-01-31 | [11 empty] | < | 0.2 | 0.2 | MG/L |  |  | #N/A | MG/L | avg |  |  |  |  | < | 0.2 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20100228 | 2010-02-28 | [12 empty] | 3.6 | 3.6 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 8.9 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20100331 | 2010-03-31 | [11 empty] | < | 0.1 | 0.1 | MG/L |  |  | #N/A | MG/L | avg |  |  |  |  | < | 0.1 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20100430 | 2010-04-30 | [12 empty] | 0.12 | 0.12 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.6 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20100531 | 2010-05-31 | [12 empty] | 0.15 | 0.15 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.6 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 00610 |  | 1 |  | 1 | 20100630 | 2010-06-30 | [12 empty] | 0.08 | 0.08 | MG/L |  |  | #N/A | MG/L | avg | [5 empty] | 0.4 | MG/L |  |  | MG/L | max
MA0101893 | [9 empty] | 001 |  | 50050 | Flow, in conduit or thru treatment plant | 1 | Effluent gross | 1 | 20050731 | 2005-07-31 | [36 empty] | 1.45 | 1.45 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 2.406 | 2.406 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20050831 | 2005-08-31 | [36 empty] | 1.45 | 1.45 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 7 | 7 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20050930 | 2005-09-30 | [36 empty] | 1.45 | 1.45 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 5.11 | 5.11 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20051031 | 2005-10-31 | [36 empty] | 1.46 | 1.46 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.41 | 4.41 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20051130 | 2005-11-30 | [36 empty] | 1.48 | 1.48 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.36 | 4.36 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20051231 | 2005-12-31 | [36 empty] | 1.48 | 1.48 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.458 | 4.458 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20060131 | 2006-01-31 | [36 empty] | 1.44 | 1.44 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 5.469 | 5.469 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20060228 | 2006-02-28 | [36 empty] | 1.38 | 1.38 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.14 | 4.14 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20060331 | 2006-03-31 | [36 empty] | 1.3 | 1.3 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.08 | 4.08 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20060430 | 2006-04-30 | [36 empty] | 1.21 | 1.21 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.138 | 4.138 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20060531 | 2006-05-31 | [36 empty] | 1.13 | 1.13 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.65 | 4.65 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20060630 | 2006-06-30 | [36 empty] | 1.1 | 1.1 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.9 | 4.9 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20060731 | 2006-07-31 | [36 empty] | 1.07 | 1.07 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.47 | 4.47 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20060831 | 2006-08-31 | [36 empty] | 1.07 | 1.07 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.03 | 4.03 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20060930 | 2006-09-30 | [36 empty] | 1.06 | 1.06 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 3.436 | 3.436 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20061031 | 2006-10-31 | [36 empty] | 1.03 | 1.03 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.2 | 1.2 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20061130 | 2006-11-30 | [36 empty] | 1.02 | 1.02 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.032 | 4.032 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20061231 | 2006-12-31 | [36 empty] | 1 | 1 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 3.44 | 3.44 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20070131 | 2007-01-31 | [36 empty] | 0.995 | 0.995 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.903 | 4.903 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20070228 | 2007-02-28 | [36 empty] | 0.98 | 0.98 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 5.4 | 5.4 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20070331 | 2007-03-31 | [36 empty] | 0.99 | 0.99 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.635 | 4.635 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20070430 | 2007-04-30 | [36 empty] | 1.01 | 1.01 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 5.46 | 5.46 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20070531 | 2007-05-31 | [36 empty] | 1.01 | 1.01 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 4.63 | 4.63 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20070630 | 2007-06-30 | [36 empty] | 0.987 | 0.987 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 5.044 | 5.044 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20070731 | 2007-07-31 | [36 empty] | 0.98 | 0.98 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.176 | 1.176 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20070831 | 2007-08-31 | [36 empty] | 0.98 | 0.98 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.192 | 1.192 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20070930 | 2007-09-30 | [36 empty] | 0.985 | 0.985 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.095 | 1.095 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20071031 | 2007-10-31 | [36 empty] | 0.978 | 0.978 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 0.874 | 0.874 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20071130 | 2007-11-30 | [36 empty] | 0.968 | 0.968 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 0.903 | 0.903 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20071231 | 2007-12-31 | [36 empty] | 0.958 | 0.958 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.007 | 1.007 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20080131 | 2008-01-31 | [36 empty] | 0.95 | 0.95 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.047 | 1.047 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20080229 | 2008-02-29 | [36 empty] | 0.948 | 0.948 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.121 | 1.121 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20080331 | 2008-03-31 | [36 empty] | 0.947 | 0.947 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.25 | 1.25 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20080430 | 2008-04-30 | [36 empty] | 0.937 | 0.937 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.054 | 1.054 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20080531 | 2008-05-31 | [36 empty] | 0.93 | 0.93 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.057 | 1.057 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20080630 | 2008-06-30 | [36 empty] | 0.925 | 0.925 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.065 | 1.065 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20080731 | 2008-07-31 | [36 empty] | 1 | 1 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.265 | 1.265 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20080831 | 2008-08-31 | [36 empty] | 0.991 | 0.991 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.1092 | 1.1092 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20080930 | 2008-09-30 | [36 empty] | 0.897 | 0.897 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.2485 | 1.2485 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20081031 | 2008-10-31 | [36 empty] | 0.9344 | 0.9344 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.178 | 1.178 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20081130 | 2008-11-30 | [36 empty] | 1.014 | 1.014 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.246 | 1.246 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20081231 | 2008-12-31 | [36 empty] | 1.073 | 1.073 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.324 | 1.324 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20090131 | 2009-01-31 | [36 empty] | 1.089 | 1.089 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.395 | 1.395 | MGD |  |  | MGD | max | RNC | D80 | K | 1
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20090228 | 2009-02-28 | [36 empty] | 0.9531 | 0.9531 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.047 | 1.047 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20090331 | 2009-03-31 | [36 empty] | 0.931 | 0.931 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.042 | 1.042 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20090430 | 2009-04-30 | [36 empty] | 1.0094 | 1.0094 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.181 | 1.181 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20090531 | 2009-05-31 | [36 empty] | 1.008 | 1.008 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.184 | 1.184 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20090630 | 2009-06-30 | [36 empty] | 0.967 | 0.967 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.068 | 1.068 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20090731 | 2009-07-31 | [36 empty] | 1.131 | 1.131 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.326 | 1.326 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20090831 | 2009-08-31 | [36 empty] | 1.081 | 1.081 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.376 | 1.376 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20090930 | 2009-09-30 | [36 empty] | 1.198 | 1.198 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.501 | 1.501 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20091031 | 2009-10-31 | [36 empty] | 1.18 | 1.18 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.422 | 1.422 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20091130 | 2009-11-30 | [36 empty] | 1.114 | 1.114 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.317 | 1.317 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20091231 | 2009-12-31 | [36 empty] | 1.142 | 1.142 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.267 | 1.267 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20100131 | 2010-01-31 | [36 empty] | 1.076 | 1.076 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.304 | 1.304 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20100228 | 2010-02-28 | [36 empty] | 1.067 | 1.067 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.179 | 1.179 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20100331 | 2010-03-31 | [36 empty] | 1.347 | 1.347 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.56 | 1.56 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20100430 | 2010-04-30 | [36 empty] | 1.254 | 1.254 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.654 | 1.654 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20100531 | 2010-05-31 | [36 empty] | 1.072 | 1.072 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.183 | 1.183 | MGD |  |  | MGD | max
MA0101893 | [9 empty] | 001 |  | 50050 |  | 1 |  | 1 | 20100630 | 2010-06-30 | [36 empty] | 1.118 | 1.118 | MGD | <= | 1.56 | 1.56 | MGD | avg | [5 empty] | 1.201 | 1.201 | MGD |  |  | MGD | max
Formulas:
DATE2 = DATE(LEFT([DATE],4),MID([DATE],5,2),RIGHT([DATE],2))

## reeval
date | flow mgd | conc mg/l | reported lbs/d | lbs check | date | discrepancy | days/month
2005-07-31 | 1.45 | 9.15 | 110.6 | 110.6793 | 2005-07-31 | -0.07169% |  | On some dates, there is discrepancy between the towns's lbs per day and a re-calc of flows x concentration as reported on EPA website.
2005-08-31 | 1.45 | 10.76 | 130.12 | 130.1541 | 2005-08-31 | -0.02618% |  | It is unclear if this is an EPA data entry problem or a town calculation problem.
2005-09-30 | 1.45 | 8.68 | 104.2 | 104.9942 | 2005-09-30 | -0.7564% |  | It is likely the total nitrogen concentrations between April and August 2008 were truncated or rounded, causing the apparent discrepancy
2005-10-31 | 1.46 | 5.9 | 56.3 | 71.8592 | 2005-10-31 | -21.65% |  | Any discrepancy >5% is problematic.
2005-11-30 | 1.48 | 6.64 | 61.7 | 81.9799 | 2005-11-30 | -24.74%
2005-12-31 | 1.48 | 6.6 | 81.4 | 81.486 | 2005-12-31 | -0.1056%
2006-01-31 | 1.44 | 5.8 | 69.6 | 69.6736 | 2006-01-31 | -0.1056%
2006-02-28 | 1.38 | 4.84 | 56 | 55.7188 | 2006-02-28 | 0.5046%
2006-03-31 | 1.3 | 4.74 | 51.6 | 51.4043 | 2006-03-31 | 0.3808%
2006-04-30 | 1.21 | 3.7 | 37.3 | 37.3478 | 2006-04-30 | -0.1279%
2006-05-31 | 1.13 | 4.1 | 38 | 38.6491 | 2006-05-31 | -1.68%
2006-06-30 | 1.1 | 3.3 | 36.7 | 30.282 | 2006-06-30 | 21.19%
2006-07-31 | 1.07 | 3 | 28 | 26.7783 | 2006-07-31 | 4.562%
2006-08-31 | 1.07 | 1.6 | 13.1 | 14.2817 | 2006-08-31 | -8.275%
2006-09-30 | 1.06 | 1.3 | 11.5 | 11.4955 | 2006-09-30 | 0.03942%
2006-10-31 | 1.03 | 2.2 | 18 | 18.9033 | 2006-10-31 | -4.778%
2006-11-30 | 1.02 | 6.68 | 56.8 | 56.84 | 2006-11-30 | -0.07038%
2006-12-31 | 1 | 6.03 | 50.2 | 50.3031 | 2006-12-31 | -0.205%
2007-01-31 | 0.995 | 6.3 | 52.2 | 52.2927 | 2007-01-31 | -0.1773% | 31
2007-02-28 | 0.98 | 6.6 | 53.9 | 53.957 | 2007-02-28 | -0.1056% | 28
2007-03-31 | 0.99 | 4.7 | 38.8 | 38.816 | 2007-03-31 | -0.04116% | 31
2007-04-30 | 1.01 | 4 | 33 | 33.7022 | 2007-04-30 | -2.084% | 30
2007-05-31 | 1.01 | 3.8 | 32 | 32.0171 | 2007-05-31 | -0.05351% | 31
2007-06-30 | 0.987 | 4.2 | 34.5 | 34.5815 | 2007-06-30 | -0.2357% | 30
2007-07-31 | 0.98 | 3.07 | 25.1 | 25.0982 | 2007-07-31 | 0.007322% | 31
2007-08-31 | 0.98 | 3.36 | 27.5 | 27.469 | 2007-08-31 | 0.1129% | 31
2007-09-30 | 0.985 | 2.7 | 22.1 | 22.1859 | 2007-09-30 | -0.3873% | 30
2007-10-31 | 0.978 | 2.12 | 17.29 | 17.2963 | 2007-10-31 | -0.03619% | 31
2007-11-30 | 0.968 | 8.1 | 65.1 | 65.4091 | 2007-11-30 | -0.4725% | 30
2007-12-31 | 0.958 | 7.03 | 56.2 | 56.1821 | 2007-12-31 | 0.03178% | 31
2008-01-31 | 0.95 | 7.38 | 58.5 | 58.4867 | 2008-01-31 | 0.02267% | 31
2008-02-29 | 0.948 | 7 | 54.9 | 55.3584 | 2008-02-29 | -0.8281% | 29
2008-03-31 | 0.947 | 5.1 | 40.1 | 40.29 | 2008-03-31 | -0.4717% | 31
2008-04-30 | 0.937 | 2 | 23.3 | 15.6332 | 2008-04-30 | 49.04% | 30
2008-05-31 | 0.93 | 3 | 31.9 | 23.2746 | 2008-05-31 | 37.06% | 31
2008-06-30 | 0.925 | 3 | 26.9 | 23.1494 | 2008-06-30 | 16.2% | 30
2008-07-31 | 1 | 3 | 30.1 | 25.0264 | 2008-07-31 | 20.27% | 31
2008-08-31 | 0.991 | 1 | 10.5 | 8.2671 | 2008-08-31 | 27.01% | 31
2008-09-30 | 0.897 | 1.5 | 11.7 | 11.2243 | 2008-09-30 | 4.238% | 30
2008-10-31 | 0.9344 | 1.6 | 12.1 | 12.4718 | 2008-10-31 | -2.981% | 31
2008-11-30 | 1.014 | 6.5 | 51.5 | 54.983 | 2008-11-30 | -6.335% | 30
2008-12-31 | 1.073 | 8.38 | 67.7 | 75.0104 | 2008-12-31 | -9.746% | 31
2009-01-31 | 1.089 | 9.8 | 80.5 | 89.029 | 2009-01-31 | -9.58% | 31
2009-02-28 | 0.9531 | 12.9 | 105.6 | 102.5665 | 2009-02-28 | 2.958% | 28
2009-03-31 | 0.931 | 11.2 | 91.2 | 86.9852 | 2009-03-31 | 4.845% | 31
2009-04-30 | 1.0094 | 5.8 | 47.4 | 48.8392 | 2009-04-30 | -2.947% | 30
2009-05-31 | 1.008 | 1.8 | 14.6 | 15.136 | 2009-05-31 | -3.541% | 31
2009-06-30 | 0.967 | 2.1 | 17.1 | 16.9404 | 2009-06-30 | 0.9422% | 30
2009-07-31 | 1.131 | 1.2 | 9.9 | 11.322 | 2009-07-31 | -12.56% | 31
2009-08-31 | 1.081 | 1.2 | 9.9 | 10.8214 | 2009-08-31 | -8.515% | 31
2009-09-30 | 1.198 | 1.2 | 10.7 | 11.9927 | 2009-09-30 | -10.78% | 30
2009-10-31 | 1.18 | 0.96 | 8.44 | 9.45 | 2009-10-31 | -10.69% | 31
2009-11-30 | 1.114 | 10.11 | 89.51 | 93.9537 | 2009-11-30 | -4.73% | 30
2009-12-31 | 1.142 | 11.92 | 106.1 | 113.5585 | 2009-12-31 | -6.568% | 31
2010-01-31 | 1.076 | 10.86 | 96.6 | 97.4809 | 2010-01-31 | -0.9037% | 31
2010-02-28 | 1.067 | 12.7 | 114.1 | 113.0435 | 2010-02-28 | 0.9346% | 28
2010-03-31 | 1.347 | 6.1 | 56.2 | 68.5449 | 2010-03-31 | -18.01% | 31
2010-04-30 | 1.254 | 3.17 | 29.9 | 33.1615 | 2010-04-30 | -9.835% | 30
2010-05-31 | 1.072 | 2.26 | 21.4 | 20.2107 | 2010-05-31 | 5.885% | 31
2010-06-30 | 1.118 | 2.67 | 25.6 | 24.9018 | 2010-06-30 | 2.804% | 30
avg 2007-09 | 1.0047 | 4.8786 | 40.7733 |  |  |  | 31
31
30
31
30
31